## Slide 1: Reducing risk of water related disease through sustainable sanitation solutions in Bangladesh
Murray Burt, Senior WASH Officer, UNHCR
Emergency Environmental Health Forum
17-18 June 2019

## Slide 2: THE CHALLENGE

## Slide 3: Women and Girls Toilet and Shower at Home
Social challenges for Sanitation

## Slide 4: Steep terrain and High population density
Environmental challenges for Sanitation

## Slide 5: Challenges with Emptying & Transport of FS
Lack of emptying
Access difficulties
Notes: Despite a focus on FSM, many gaps remained, due to the sheer scale of the operation and gaps in monitoring

## Slide 6
Direct disposal of FS into open drains

## Slide 7
Drains flow downhill to streams

## Slide 8: THE OPPORTUNITY

## Slide 9
Opportunity to Achieve SDG 6
for refugees and host community
long term access to safely managed sanitation
environmentally sustainable solutions
inclusion of refugees within national services
long term low cost sanitation services
Humanitarian to Development Continuum

## Slide 10: Humanitarian to Development Planning and Financing
TIME
$
Humanitarian Financing
Development Financing
Asia Development Bank $200m
World Bank $400m
Possibility of High CAPEX, Low OPEX Solutions

## Slide 11: THE SOLUTION

## Slide 12: Sanitation Masterplan
Multi-year investment plan for sanitation
Agreed technology and management models
Economic - lowest long term operation cost
Environmental – protection of environment, fit within limited space,
Socially acceptable, reduce public health risks, wastewater reuse,
Household/Family Latrines and Bathrooms where possible
Different solutions for different sites -Centralised, semi-centralized, decentralized

## Slide 13: Full sanitation chain Urban style sanitation solutions
PIPES
Solids free sewers
Fish Ponds

## Slide 14: Sanitation Unified Designs

## Slide 15: Manual/Truck Transport  Pipe Transport
‘Deployable’ system flexible to changing situation
System needs to be engineered/optimized:
Reduce/remove need for sludge trucking
Reduce time to pump from one stage/tank to next
Introduce gravity flow options where possible as situation stabilizes

## Slide 16
Bathroom. Greywater / Blackwater
Toilet. Blackwater
Settling Tank
(12-24hr residence time)
Liquid Effluent 1% solids
Wastewater reuse for Fish Ponds or Agriculture Irrigation
Primary Tmt
Secondary Tmt
Tertiary Tmt
Solids Separation
Effluent Treatment System
Wastewater Box Channels or flexible pipes
Desludge every
6mths – 1 yr
Reducing the emptying & transport cost in the long-term with gravity flow systems
Solids-free sewer preferred:
  Low water volumes
  Unknown user habits
  Potential to retrofit toilet pits as interceptors
Notes: Toilets/Bathrooms – combine greywater/blackwater
Solids separation – using communal septic tank
Effluent transport- using solids free gravity sewer
Treatment – waste stabilization ponds (biogas)
Reuse – final effluent reuse for fish ponds /irrigation

## Slide 17: Sustainable Treatment
Anaerobic Baffled Reactor with 1-2
Up-flow Filter Reactor chambers
Maturation/polishing ponds
Initial anaerobic settling/thickening step: high HRT to allow for initial start-up period
Intermediate aerobic steps (trickling filter, coco-peat filter)
Polishing ponds for pathogen reduction
Cost- and space-efficient, but performance needs careful monitoring – hydraulic regime at inlet can be adjusted (intermittent flow may improve performance of ABR)
All 3 elements currently in use, but not in combination
Need to substitute treatment function provided by facultative pond
Centralised
Partially decentralised
Notes: Trickling filter and coco-peat filter both use downward flow to draw in air and ensure aerobic micro-orgaanisms thrive

## Slide 18: Centralised FS/WW treatment favoured where possible in the long run
Centralised
Decentralised
Chemicals required for pathogen destruction (opex↑)
Some units, notably constructed wetlands under-engineered due to space constraints
Treatment close to population Poses Health Risks
More scope for pond-based treatment, which facilitates larger storage and HRT
DEWATS (ABR, AFR) cost-effective and low footprint, but treatment incomplete (e.g. nitrogen, pathogens)
More space for cheaper and environmentally less damaging non-chemical pathogen destruction
Waste is treated away from population Reducing Health Risks

## Slide 19: Need for systematic testing/data on key parameters of FS/WW Influent and Effluent Discharge
Wastewater/FS characterisation
Wastewater/FS volumes
Infiltration rates
Photo credit: Roman Ryndin

## Slide 20: THE FUTURE

## Slide 21: Going Forward in Bangladesh
Focus on solving the FS/WW transport issue
Centralised treatment preferred
Flexibility of solutions (no holy grail)
Finalise and agree unified sector wide sanitation strategy/masterplan
Inform plans/activities of DPHE, ADB, WB.

## Slide 22: Going Forward in the WASH Sector
Humanitarian WASH Sector needs new partnerships/ increased capacity for urban style FS/WW management
FS/WW discharge indicators need to be included in Sphere (BOD, COD, TSS)
Formation of global humanitarian sanitation technical working group.